## Slide 1
Block Diagrams

## Slide 2
Thermal Controller
To Cryogenic
Control Valve
From Temp
Sensor
Max485
Module
Microcontroller
AC 230V
Relay Module
RTC
SD
Module
+5V
+5V
AC-DC
Converter
+24V
NC
+24V
+12V
+12V
Modbus

## Slide 3
Microcontroller
(Arduino Uno)
AC 230V
+5V
AC-DC
Converter
+24V
DC-DC
Converter
+12V
DC-DC
Converter
Max485
Module
DE
RE
RO
DI
8
8
9
10
RTC
DAT
RST
CLK
5
7
2
LCD
SDA
SCL
A5
A4
RELAY
IN2
IN1
3
4
A2
A3
Manual
Mode
ON/OFF
+5V
GND
A
B
+5V
GND
+5V
GND
+5V
GND
+5V
+5V
SD
Module
+12V
GND
+12V
RK330-2
Sensor
GND
COM
NO
+24V
GND
Solenoid
Valve
Modbus
Box 1 (RK330)

## Slide 4
Microcontroller
(Arduino Uno)
AC 230V
+5V
AC-DC
Converter
+24V
DC-DC
Converter
+12V
DC-DC
Converter
DHT22
Module
DHTPIN
8
RTC
DAT
RST
CLK
5
7
2
LCD
SDA
SCL
A5
A4
RELAY
IN2
IN1
3
4
A2
A3
Manual
Mode
ON/OFF
+
-
+5V
GND
+5V
GND
+5V
GND
+5V
+5V
SD
Module
+12V
GND
COM
NO
+24V
GND
Solenoid
Valve
+5V
GND
Box 1 (DHT22)

## Slide 5
Microcontroller
(Arduino Uno)
AC 230V
+5V
AC-DC
Converter
+24V
DC-DC
Converter
+12V
DC-DC
Converter
Max31855
Module
CS
9
8
10
RTC
DAT
RST
CLK
5
7
2
LCD
SDA
SCL
A5
A4
RELAY
IN2
IN1
A0
A1
A2
A3
Manual
Mode
ON/OFF
+
-
+5V
GND
+5V
GND
+5V
GND
+5V
+5V
SD
Module
+12V
GND
COM
NO
+24V
GND
Solenoid
Valve
+5V
GND
DO
CLK
Box 1 (Max31855)

## Slide 6
Microcontroller
(Arduino Uno)
AC 230V
+5V
AC-DC
Converter
+24V
DC-DC
Converter
+12V
DC-DC
Converter
Max31865
Module
CS
9
8
10
RTC
DAT
RST
CLK
5
7
2
LCD
SDA
SCL
A5
A4
RELAY
IN2
IN1
3
4
A2
A3
Manual
Mode
ON/OFF
+
-
+5V
GND
+5V
GND
+5V
GND
+5V
+5V
SD
Module
+12V
GND
COM
NO
+24V
GND
Solenoid
Valve
+5V
GND
DO
DI
12
CLK
PT100
Box 1 (Max31865+PT100)

## Slide 7
Microcontroller
(Arduino Mega)
AC 230V
+5V
AC-DC
Converter
+24V
DC-DC
Converter
+9V
DC-DC
Converter
Max31865
Module
CS
11
9
10
RTC
DAT
RST
CLK
2
3
4
LED
Y
R
34
35
RELAY
IN2
IN1
22
29
28
Manual
Mode
ON/OFF
+
-
+5V
GND
GND
+5V
GND
+5V
+5V
SD
+9V
GND
COM
NO
+24V
GND
Solenoid
Valve
+5V
GND
DO
DI
8
CLK
SS
MOSI
SCK
MISO
52
51
53
50
G
36
PT100
LED
Module
+5V
GND
SDA
SCL
SDA
SCL
20
21
Box 2 (Mega, Max31865+PT100)

## Slide 8
Sub Controller (Uno) 4
Sub Controller (Uno) 3
Sub Controller (Uno) 2
Main Controller (Mega)
Sub Controller (Uno) 1
AC 230V
+5V
AC-DC
Converter
+24V
+12V
+5V
DC-DC
Converter
+12V
Max485
Module1
Microcontroller (Mega)
Microcontroller (Uno)
RTC
SD
Module
Display
Relay
Module
Max485
Module
Max31865
Module
RK330
Sensor
PT100
Sensor
Servo Motor
Max485
Module
Max485
Module2
Max485
Module3
Max485
Module4
Distributed Controller

## Slide 9
Microcontroller
(Arduino Uno)
+5V
+24V
DC-DC
Converter
+12V
DC-DC
Converter
Max31865
Module
CS
7
5
6
+
-
+12V
GND
+5V
GND
DO
DI
4
CLK
PT100
Distributed Controller
Max485
Module
DE
RE
RO
DI
8
8
9
10
+5V
GND
A
B
+12V
RK330-2
Sensor
GND
Modbus
Max485
Module
DE
RE
RO
DI
2
2
0
1
+5V
GND
A
B
+24V
Arduino
Mega
GND
Modbus
SERVO
S
A0
+5V
GND
+
V
G
Notes: Need to update pin numbers and arrow directions.

## Slide 10
Microcontroller
(Arduino Uno)
+5V
+24V
DC-DC
Converter
+12V
DC-DC
Converter
Max31865
Module
CS
7
5
6
+
-
+12V
GND
+5V
GND
DO
DI
4
CLK
PT100
Distributed Controller
Max485
Module
DE
RE
RO
DI
2
2
0
1
+5V
GND
A
B
+24V
Arduino
Mega
GND
Modbus
SERVO
S
A0
+5V
GND
+
V
G
DHT22
Module
DHTPIN
8
+
-
+5V
GND
Notes: Need to update pin numbers and arrow directions.

## Slide 11
Slave 1
Max485 Module
Slave 4
Max485 Module
Slave 2
Max485 Module
Slave 3
Max485 Module
Master
Max485 Module

## Slide 12
Program Flowchart

## Slide 13
Setup:
Serial Terminal, Initialize variables, Display LEDs, RTC
Max31865, Relay, Mode and ONOFF Switches, microSD
Get time from RTC
Get temperature from Max31865
Display temperature on LEDs & Serial Terminal
Manual Mode?
Read states of MODE and ONOFF switches
Turn on/off Relay and light corresponding LED according to ONOFF switch
*
Y
N
Cont on
next pg
To*

## Slide 14
Cooling?
Turn on Relay and corresponding LED
Temp < Lower Limit?
Turn off Relay and corresponding LED. Set cooling = false
Turn off Relay and corresponding LED
Temp < Upper Limit?
Turn off Relay and corresponding LED. Set cooling = true
To*
Y
Y
Y
N
N
N
N
From
prev pg